## Report
Analysis Report
Division of Minerals
Particle Analysis Service
Sample Name: |  | S10
Batch No: |  | R058883
PAS ID No: |  | P47981
Dispersant: |  | Water | [5 empty] | SOP Name:
Additives: |  | 10 millilitres sodium hexametaphosphate | [5 empty] | Analysis Model: |  |  | General purpose
Sonication: |  | 20 minutes ultrasonic bath | [5 empty] | Result units: |  |  | Volume
Concentration: |  | 0.0338 % vol |  | Vol. Weighted Mean D[4,3]: |  |  |  | 233.48 | µm |  | d(0.1): |  | 13.33 | µm
Obscuration: |  | 15.08 % |  | Surface Weighted Mean D[3,2]: |  |  |  | 17.453 | µm |  | d(0.5): |  | 220.175 | µm
Weighted Residual: |  | 1.275 % |  | Specific Surface Area: |  |  |  | 0.344 | m2/cc |  | P80: |  | 370.566 | µm
[11 empty] | d(0.9): |  | 457.136 | µm
Size (µm) | Vol Under % | Size (µm) | Vol Under % |  | Size (µm) | Vol Under % | Size (µm) | Vol Under % |  | Size (µm) | Vol Under % |  | Size (µm) | Vol Under %
0.02 | 0 | 0.14159 | 0 |  | 1.0024 | 1.4211 | 7.0963 | 8.0952 |  | 50.2377 | 15.3314 |  | 355.6559 | 77.7471
0.02244 | 0 | 0.15887 | 0 |  | 1.1247 | 1.7369 | 7.9621 | 8.4608 |  | 56.3677 | 16.3551 |  | 399.0525 | 83.8448
0.025179 | 0 | 0.17825 | 0 |  | 1.2619 | 2.0767 | 8.9337 | 8.8204 |  | 63.2456 | 17.5082 |  | 447.7442 | 89.1445
0.028251 | 0 | 0.2 | 0 |  | 1.4159 | 2.4385 | 10.0237 | 9.1729 |  | 70.9627 | 18.798 |  | 502.3773 | 93.4647
0.031698 | 0 | 0.2244 | 0 |  | 1.5887 | 2.8193 | 11.2468 | 9.5161 |  | 79.6214 | 20.2385 |  | 563.6766 | 96.6867
0.035566 | 0 | 0.25178 | 0 |  | 1.7825 | 3.2166 | 12.6191 | 9.8473 |  | 89.3367 | 21.8644 |  | 632.4555 | 98.9675
0.039905 | 0 | 0.28251 | 0 |  | 2 | 3.6269 | 14.1589 | 10.1643 |  | 100.2374 | 23.7327 |  | 709.6268 | 99.9161
0.044774 | 0 | 0.31698 | 0 |  | 2.244 | 4.0466 | 15.8866 | 10.4672 |  | 112.4683 | 25.9207 |  | 796.2143 | 99.9976
0.050238 | 0 | 0.35566 | 0 |  | 2.5179 | 4.4719 | 17.825 | 10.7593 |  | 126.1915 | 28.5334 |  | 893.3672 | 100
0.056368 | 0 | 0.39905 | 0 |  | 2.8251 | 4.8989 | 20 | 11.0485 |  | 141.5892 | 31.6715 |  | 1002.3745 | 100
0.063246 | 0 | 0.44774 | 0.044461 |  | 3.1698 | 5.3242 | 22.4404 | 11.3477 |  | 158.8656 | 35.4467 |  | 1124.6826 | 100
0.070963 | 0 | 0.50238 | 0.14367 |  | 3.5566 | 5.7447 | 25.1785 | 11.6745 |  | 178.2502 | 39.9216 |  | 1261.9147 | 100
0.079621 | 0 | 0.56368 | 0.27621 |  | 3.9905 | 6.158 | 28.2508 | 12.049 |  | 200 | 45.1275 |  | 1415.8916 | 100
0.089337 | 0 | 0.63246 | 0.44168 |  | 4.4774 | 6.5628 | 31.6979 | 12.4936 |  | 224.4037 | 51.0149 |  | 1588.6565 | 100
0.10024 | 0 | 0.70963 | 0.63977 |  | 5.0238 | 6.9584 | 35.5656 | 13.0292 |  | 251.7851 | 57.4561 |  | 1782.5019 | 100
0.11247 | 0 | 0.79621 | 0.87063 |  | 5.6368 | 7.3451 | 39.9052 | 13.6732 |  | 282.5075 | 64.2469 |  | 2000 | 100
0.12619 | 0 | 0.89337 | 1.1317 |  | 6.3246 | 7.7236 | 44.7744 | 14.439 |  | 316.9786 | 71.1143
2026-07-30

## Summary
Division of Minerals | Particle Analysis Service
Analysis Report |  |  | Differential Data |  | Cumulative Data
|  | Lower Size | Upper Size | % in Interval | Size | % Passing
Sample Name: | S10 | (µm) | (µm) |  | (µm)
Report No: | R058883 | 0.02 | 0.02244 | 0 | 0.02244 | 0
PAS ID No: | P47981 | 0.02244 | 0.025179 | 0 | 0.025179 | 0
Analysis Date | Thursday, 7 July 2005 2:38:46 PM | 0.025179 | 0.028251 | 0 | 0.028251 | 0
|  | 0.028251 | 0.031698 | 0 | 0.031698 | 0
Dispersant | Water | 0.031698 | 0.035566 | 0 | 0.035566 | 0
Additives | 10 millilitres sodium hexametaphosphate | 0.035566 | 0.039905 | 0 | 0.039905 | 0
Sonication | 20 minutes ultrasonic bath | 0.039905 | 0.044774 | 0 | 0.044774 | 0
|  | 0.044774 | 0.050238 | 0 | 0.050238 | 0
Concentration (% vol) | 0.0338 | 0.050238 | 0.056368 | 0 | 0.056368 | 0
Obscuration (%) | 15.08 | 0.056368 | 0.063246 | 0 | 0.063246 | 0
Residual (%) | 1.275 | 0.063246 | 0.070963 | 0 | 0.070963 | 0
|  | 0.070963 | 0.079621 | 0 | 0.079621 | 0
SOP Name |  | 0.079621 | 0.089337 | 0 | 0.089337 | 0
Analysis Model | General purpose | 0.089337 | 0.10024 | 0 | 0.10024 | 0
Result Units | Volume | 0.10024 | 0.11247 | 0 | 0.11247 | 0
|  | 0.11247 | 0.12619 | 0 | 0.12619 | 0
D[4,3] (µm) | 233.48 | 0.12619 | 0.14159 | 0 | 0.14159 | 0
D[3,2] (µm) | 17.453 | 0.14159 | 0.15887 | 0 | 0.15887 | 0
Sp. Surface Area (m2/cc) | 0.344 | 0.15887 | 0.17825 | 0 | 0.17825 | 0
|  | 0.17825 | 0.2 | 0 | 0.2 | 0
D(0.1) (µm) | 13.33 | 0.2 | 0.2244 | 0 | 0.2244 | 0
D(0.5) (µm) | 220.175 | 0.2244 | 0.25178 | 0 | 0.25178 | 0
D(0.9) (µm) | 457.136 | 0.25178 | 0.28251 | 0 | 0.28251 | 0
p80 (µm) | 370.566 | 0.28251 | 0.31698 | 0 | 0.31698 | 0
|  | 0.31698 | 0.35566 | 0 | 0.35566 | 0
|  | 0.35566 | 0.39905 | 0 | 0.39905 | 0
|  | 0.39905 | 0.44774 | 0.044461 | 0.44774 | 0.044461
|  | 0.44774 | 0.50238 | 0.099213 | 0.50238 | 0.14367
|  | 0.50238 | 0.56368 | 0.13253 | 0.56368 | 0.27621
|  | 0.56368 | 0.63246 | 0.16547 | 0.63246 | 0.44168
|  | 0.63246 | 0.70963 | 0.19809 | 0.70963 | 0.63977
|  | 0.70963 | 0.79621 | 0.23086 | 0.79621 | 0.87063
|  | 0.79621 | 0.89337 | 0.26106 | 0.89337 | 1.1317
|  | 0.89337 | 1.0024 | 0.28942 | 1.0024 | 1.4211
|  | 1.0024 | 1.1247 | 0.31582 | 1.1247 | 1.7369
|  | 1.1247 | 1.2619 | 0.33977 | 1.2619 | 2.0767
|  | 1.2619 | 1.4159 | 0.36178 | 1.4159 | 2.4385
|  | 1.4159 | 1.5887 | 0.38083 | 1.5887 | 2.8193
|  | 1.5887 | 1.7825 | 0.3973 | 1.7825 | 3.2166
|  | 1.7825 | 2 | 0.41027 | 2 | 3.6269
|  | 2 | 2.244 | 0.4197 | 2.244 | 4.0466
|  | 2.244 | 2.5179 | 0.42528 | 2.5179 | 4.4719
|  | 2.5179 | 2.8251 | 0.42705 | 2.8251 | 4.8989
|  | 2.8251 | 3.1698 | 0.42526 | 3.1698 | 5.3242
|  | 3.1698 | 3.5566 | 0.42052 | 3.5566 | 5.7447
|  | 3.5566 | 3.9905 | 0.41333 | 3.9905 | 6.158
|  | 3.9905 | 4.4774 | 0.4048 | 4.4774 | 6.5628
|  | 4.4774 | 5.0238 | 0.39558 | 5.0238 | 6.9584
|  | 5.0238 | 5.6368 | 0.38666 | 5.6368 | 7.3451
|  | 5.6368 | 6.3246 | 0.37857 | 6.3246 | 7.7236
|  | 6.3246 | 7.0963 | 0.37159 | 7.0963 | 8.0952
|  | 7.0963 | 7.9621 | 0.36558 | 7.9621 | 8.4608
|  | 7.9621 | 8.9337 | 0.35955 | 8.9337 | 8.8204
|  | 8.9337 | 10.0237 | 0.35255 | 10.0237 | 9.1729
|  | 10.0237 | 11.2468 | 0.3432 | 11.2468 | 9.5161
|  | 11.2468 | 12.6191 | 0.33118 | 12.6191 | 9.8473
|  | 12.6191 | 14.1589 | 0.31703 | 14.1589 | 10.1643
|  | 14.1589 | 15.8866 | 0.30285 | 15.8866 | 10.4672
|  | 15.8866 | 17.825 | 0.2921 | 17.825 | 10.7593
|  | 17.825 | 20 | 0.28926 | 20 | 11.0485
|  | 20 | 22.4404 | 0.29919 | 22.4404 | 11.3477
|  | 22.4404 | 25.1785 | 0.3268 | 25.1785 | 11.6745
|  | 25.1785 | 28.2508 | 0.37442 | 28.2508 | 12.049
|  | 28.2508 | 31.6979 | 0.44466 | 31.6979 | 12.4936
|  | 31.6979 | 35.5656 | 0.53561 | 35.5656 | 13.0292
|  | 35.5656 | 39.9052 | 0.64399 | 39.9052 | 13.6732
|  | 39.9052 | 44.7744 | 0.76574 | 44.7744 | 14.439
|  | 44.7744 | 50.2377 | 0.89249 | 50.2377 | 15.3314
|  | 50.2377 | 56.3677 | 1.0236 | 56.3677 | 16.3551
|  | 56.3677 | 63.2456 | 1.1531 | 63.2456 | 17.5082
|  | 63.2456 | 70.9627 | 1.2898 | 70.9627 | 18.798
|  | 70.9627 | 79.6214 | 1.4406 | 79.6214 | 20.2385
|  | 79.6214 | 89.3367 | 1.6258 | 89.3367 | 21.8644
|  | 89.3367 | 100.2374 | 1.8683 | 100.2374 | 23.7327
|  | 100.2374 | 112.4683 | 2.188 | 112.4683 | 25.9207
|  | 112.4683 | 126.1915 | 2.6127 | 126.1915 | 28.5334
|  | 126.1915 | 141.5892 | 3.1381 | 141.5892 | 31.6715
|  | 141.5892 | 158.8656 | 3.7752 | 158.8656 | 35.4467
|  | 158.8656 | 178.2502 | 4.4749 | 178.2502 | 39.9216
|  | 178.2502 | 200 | 5.2059 | 200 | 45.1275
|  | 200 | 224.4037 | 5.8874 | 224.4037 | 51.0149
|  | 224.4037 | 251.7851 | 6.4412 | 251.7851 | 57.4561
|  | 251.7851 | 282.5075 | 6.7908 | 282.5075 | 64.2469
|  | 282.5075 | 316.9786 | 6.8674 | 316.9786 | 71.1143
|  | 316.9786 | 355.6559 | 6.6328 | 355.6559 | 77.7471
|  | 355.6559 | 399.0525 | 6.0976 | 399.0525 | 83.8448
|  | 399.0525 | 447.7442 | 5.2997 | 447.7442 | 89.1445
|  | 447.7442 | 502.3773 | 4.3202 | 502.3773 | 93.4647
|  | 502.3773 | 563.6766 | 3.222 | 563.6766 | 96.6867
|  | 563.6766 | 632.4555 | 2.2808 | 632.4555 | 98.9675
|  | 632.4555 | 709.6268 | 0.94855 | 709.6268 | 99.9161
|  | 709.6268 | 796.2143 | 0.081517 | 796.2143 | 99.9976
|  | 796.2143 | 893.3672 | 0.002399 | 893.3672 | 100
|  | 893.3672 | 1002.3745 | 0 | 1002.3745 | 100
|  | 1002.3745 | 1124.6826 | 0 | 1124.6826 | 100
|  | 1124.6826 | 1261.9147 | 0 | 1261.9147 | 100
|  | 1261.9147 | 1415.8916 | 0 | 1415.8916 | 100
|  | 1415.8916 | 1588.6565 | 0 | 1588.6565 | 100
|  | 1588.6565 | 1782.5019 | 0 | 1782.5019 | 100
|  | 1782.5019 | 2000 | 0 | 2000 | 100

## Data
Sample Name | Sample source | Sample bulk lot ref | SOP Name | Operator name | Measurement date and time | Particle name | Particle refractive index | Particle absorption index | Dispersant name | Analysis model | Start result channel size | Last result channel size | Result emulation | Obscuration | Concentration | Predispersant name | Predispersant quantity | Predispersant units | Result transform type | Surfactant/Additive quantity | Surfactant/Additive units | Surfactant/Additive name | D [4, 3] - Volume weighted mean | Uniformity | Specific surface area | D [3, 2] - Surface weighted mean | d (0.1) | d (0.5) | d (0.9) | d (0.8) | Residual | Sizes | [100 empty] | Result Between User Sizes | [99 empty] | Result Above 10.000 µm
S10 | R058883 | P47981 |  | pas-wf | Thursday, 7 July 2005 2:38:46 PM | 2207 | 2.74 | 0.1 | Water | General purpose | 0.02 | 2000 | Off | 15.08 | 0.0338 | ultrasonic bath | 20 | minutes | Volume | 10 | millilitres | sodium hexametaphosphate | 233.48 | 0.593 | 0.344 | 17.453 | 13.33 | 220.175 | 457.136 | 370.566 | 1.275 | 0.02 | 0.02244 | 0.025179 | 0.028251 | 0.031698 | 0.035566 | 0.039905 | 0.044774 | 0.050238 | 0.056368 | 0.063246 | 0.070963 | 0.079621 | 0.089337 | 0.10024 | 0.11247 | 0.12619 | 0.14159 | 0.15887 | 0.17825 | 0.2 | 0.2244 | 0.25178 | 0.28251 | 0.31698 | 0.35566 | 0.39905 | 0.44774 | 0.50238 | 0.56368 | 0.63246 | 0.70963 | 0.79621 | 0.89337 | 1.0024 | 1.1247 | 1.2619 | 1.4159 | 1.5887 | 1.7825 | 2 | 2.244 | 2.5179 | 2.8251 | 3.1698 | 3.5566 | 3.9905 | 4.4774 | 5.0238 | 5.6368 | 6.3246 | 7.0963 | 7.9621 | 8.9337 | 10.0237 | 11.2468 | 12.6191 | 14.1589 | 15.8866 | 17.825 | 20 | 22.4404 | 25.1785 | 28.2508 | 31.6979 | 35.5656 | 39.9052 | 44.7744 | 50.2377 | 56.3677 | 63.2456 | 70.9627 | 79.6214 | 89.3367 | 100.2374 | 112.4683 | 126.1915 | 141.5892 | 158.8656 | 178.2502 | 200 | 224.4037 | 251.7851 | 282.5075 | 316.9786 | 355.6559 | 399.0525 | 447.7442 | 502.3773 | 563.6766 | 632.4555 | 709.6268 | 796.2143 | 893.3672 | 1002.3745 | 1124.6826 | 1261.9147 | 1415.8916 | 1588.6565 | 1782.5019 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.044461 | 0.099213 | 0.13253 | 0.16547 | 0.19809 | 0.23086 | 0.26106 | 0.28942 | 0.31582 | 0.33977 | 0.36178 | 0.38083 | 0.3973 | 0.41027 | 0.4197 | 0.42528 | 0.42705 | 0.42526 | 0.42052 | 0.41333 | 0.4048 | 0.39558 | 0.38666 | 0.37857 | 0.37159 | 0.36558 | 0.35955 | 0.35255 | 0.3432 | 0.33118 | 0.31703 | 0.30285 | 0.2921 | 0.28926 | 0.29919 | 0.3268 | 0.37442 | 0.44466 | 0.53561 | 0.64399 | 0.76574 | 0.89249 | 1.0236 | 1.1531 | 1.2898 | 1.4406 | 1.6258 | 1.8683 | 2.188 | 2.6127 | 3.1381 | 3.7752 | 4.4749 | 5.2059 | 5.8874 | 6.4412 | 6.7908 | 6.8674 | 6.6328 | 6.0976 | 5.2997 | 4.3202 | 3.222 | 2.2808 | 0.94855 | 0.081517 | 0.002399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.834

## Differential Data - Printable
Analysis Report
Division of Minerals
Particle Analysis Service
Sample Name: |  | S10
Batch No: |  | R058883
PAS ID No: |  | P47981
Dispersant: |  | Water | [5 empty] | SOP Name:
Additives: |  | 10 millilitres sodium hexametaphosphate | [5 empty] | Analysis Model: |  | General purpose
Sonication: |  | 20 minutes ultrasonic bath | [5 empty] | Result units |  | Volume
Concentration: |  | 0.0338 % vol |  | Vol. Weighted Mean D[4,3]: |  |  |  | 233.48 | µm | d(0.1): | 13.33 µm
Obscuration: |  | 15.08 % |  | Surface Weighted Mean D[3,2]: |  |  |  | 17.453 | µm | d(0.5): | 220.175 µm
Residual: |  | 1.275 % |  | Specific Surface Area: |  |  |  | 0.344 | m2/cc | d(0.9): | 457.136 µm
[10 empty] | P80: | 370.566 µm
Min Size (µm) | Max Size (µm) | % In Interval | Min Size (µm) | Max Size (µm) | % In Interval | Min Size (µm) | Max Size (µm) | % In Interval | Min Size (µm) | Max Size (µm) | % In Interval
0.02 | 0.02244 | 0 | 0.35566 | 0.39905 | 0 | 6.3246 | 7.0963 | 0.37159 | 112.4683 | 126.1915 | 2.6127
0.02244 | 0.025179 | 0 | 0.39905 | 0.44774 | 0.044461 | 7.0963 | 7.9621 | 0.36558 | 126.1915 | 141.5892 | 3.1381
0.025179 | 0.028251 | 0 | 0.44774 | 0.50238 | 0.099213 | 7.9621 | 8.9337 | 0.35955 | 141.5892 | 158.8656 | 3.7752
0.028251 | 0.031698 | 0 | 0.50238 | 0.56368 | 0.13253 | 8.9337 | 10.0237 | 0.35255 | 158.8656 | 178.2502 | 4.4749
0.031698 | 0.035566 | 0 | 0.56368 | 0.63246 | 0.16547 | 10.0237 | 11.2468 | 0.3432 | 178.2502 | 200 | 5.2059
0.035566 | 0.039905 | 0 | 0.63246 | 0.70963 | 0.19809 | 11.2468 | 12.6191 | 0.33118 | 200 | 224.4037 | 5.8874
0.039905 | 0.044774 | 0 | 0.70963 | 0.79621 | 0.23086 | 12.6191 | 14.1589 | 0.31703 | 224.4037 | 251.7851 | 6.4412
0.044774 | 0.050238 | 0 | 0.79621 | 0.89337 | 0.26106 | 14.1589 | 15.8866 | 0.30285 | 251.7851 | 282.5075 | 6.7908
0.050238 | 0.056368 | 0 | 0.89337 | 1.0024 | 0.28942 | 15.8866 | 17.825 | 0.2921 | 282.5075 | 316.9786 | 6.8674
0.056368 | 0.063246 | 0 | 1.0024 | 1.1247 | 0.31582 | 17.825 | 20 | 0.28926 | 316.9786 | 355.6559 | 6.6328
0.063246 | 0.070963 | 0 | 1.1247 | 1.2619 | 0.33977 | 20 | 22.4404 | 0.29919 | 355.6559 | 399.0525 | 6.0976
0.070963 | 0.079621 | 0 | 1.2619 | 1.4159 | 0.36178 | 22.4404 | 25.1785 | 0.3268 | 399.0525 | 447.7442 | 5.2997
0.079621 | 0.089337 | 0 | 1.4159 | 1.5887 | 0.38083 | 25.1785 | 28.2508 | 0.37442 | 447.7442 | 502.3773 | 4.3202
0.089337 | 0.10024 | 0 | 1.5887 | 1.7825 | 0.3973 | 28.2508 | 31.6979 | 0.44466 | 502.3773 | 563.6766 | 3.222
0.10024 | 0.11247 | 0 | 1.7825 | 2 | 0.41027 | 31.6979 | 35.5656 | 0.53561 | 563.6766 | 632.4555 | 2.2808
0.11247 | 0.12619 | 0 | 2 | 2.244 | 0.4197 | 35.5656 | 39.9052 | 0.64399 | 632.4555 | 709.6268 | 0.94855
0.12619 | 0.14159 | 0 | 2.244 | 2.5179 | 0.42528 | 39.9052 | 44.7744 | 0.76574 | 709.6268 | 796.2143 | 0.081517
0.14159 | 0.15887 | 0 | 2.5179 | 2.8251 | 0.42705 | 44.7744 | 50.2377 | 0.89249 | 796.2143 | 893.3672 | 0.002399
0.15887 | 0.17825 | 0 | 2.8251 | 3.1698 | 0.42526 | 50.2377 | 56.3677 | 1.0236 | 893.3672 | 1002.3745 | 0
0.17825 | 0.2 | 0 | 3.1698 | 3.5566 | 0.42052 | 56.3677 | 63.2456 | 1.1531 | 1002.3745 | 1124.6826 | 0
0.2 | 0.2244 | 0 | 3.5566 | 3.9905 | 0.41333 | 63.2456 | 70.9627 | 1.2898 | 1124.6826 | 1261.9147 | 0
0.2244 | 0.25178 | 0 | 3.9905 | 4.4774 | 0.4048 | 70.9627 | 79.6214 | 1.4406 | 1261.9147 | 1415.8916 | 0
0.25178 | 0.28251 | 0 | 4.4774 | 5.0238 | 0.39558 | 79.6214 | 89.3367 | 1.6258 | 1415.8916 | 1588.6565 | 0
0.28251 | 0.31698 | 0 | 5.0238 | 5.6368 | 0.38666 | 89.3367 | 100.2374 | 1.8683 | 1588.6565 | 1782.5019 | 0
0.31698 | 0.35566 | 0 | 5.6368 | 6.3246 | 0.37857 | 100.2374 | 112.4683 | 2.188 | 1782.5019 | 2000 | 0

## Transposed Data
Sample Name | S10
Sample source | R058883
Sample bulk lot ref | P47981
SOP Name | 0
Operator name | pas-wf
Measurement date and time | Thursday, 7 July 2005 2:38:46 PM
Particle name | 2207
Particle refractive index | 2.74
Particle absorption index | 0.1
Dispersant name | Water
Analysis model | General purpose
Start result channel size | 0.02
Last result channel size | 2000
Result emulation | Off
Obscuration | 15.08
Concentration | 0.0338
Predispersant name | ultrasonic bath
Predispersant quantity | 20
Predispersant units | minutes
Result transform type | Volume
Surfactant/Additive quantity | 10
Surfactant/Additive units | millilitres
Surfactant/Additive name | sodium hexametaphosphate
D [4, 3] - Volume weighted mean | 233.48
Uniformity | 0.593
Specific surface area | 0.344
D [3, 2] - Surface weighted mean | 17.453
d (0.1) | 13.33
d (0.5) | 220.175
d (0.9) | 457.136
d (0.8) | 370.566
Residual | 1.275
Sizes | 0.02
0 | 0.02244
0 | 0.025179
0 | 0.028251
0 | 0.031698
0 | 0.035566
0 | 0.039905
0 | 0.044774
0 | 0.050238
0 | 0.056368
0 | 0.063246
0 | 0.070963
0 | 0.079621
0 | 0.089337
0 | 0.10024
0 | 0.11247
0 | 0.12619
0 | 0.14159
0 | 0.15887
0 | 0.17825
0 | 0.2
0 | 0.2244
0 | 0.25178
0 | 0.28251
0 | 0.31698
0 | 0.35566
0 | 0.39905
0 | 0.44774
0 | 0.50238
0 | 0.56368
0 | 0.63246
0 | 0.70963
0 | 0.79621
0 | 0.89337
0 | 1.0024
0 | 1.1247
0 | 1.2619
0 | 1.4159
0 | 1.5887
0 | 1.7825
0 | 2
0 | 2.244
0 | 2.5179
0 | 2.8251
0 | 3.1698
0 | 3.5566
0 | 3.9905
0 | 4.4774
0 | 5.0238
0 | 5.6368
0 | 6.3246
0 | 7.0963
0 | 7.9621
0 | 8.9337
0 | 10.0237
0 | 11.2468
0 | 12.6191
0 | 14.1589
0 | 15.8866
0 | 17.825
0 | 20
0 | 22.4404
0 | 25.1785
0 | 28.2508
0 | 31.6979
0 | 35.5656
0 | 39.9052
0 | 44.7744
0 | 50.2377
0 | 56.3677
0 | 63.2456
0 | 70.9627
0 | 79.6214
0 | 89.3367
0 | 100.2374
0 | 112.4683
0 | 126.1915
0 | 141.5892
0 | 158.8656
0 | 178.2502
0 | 200
0 | 224.4037
0 | 251.7851
0 | 282.5075
0 | 316.9786
0 | 355.6559
0 | 399.0525
0 | 447.7442
0 | 502.3773
0 | 563.6766
0 | 632.4555
0 | 709.6268
0 | 796.2143
0 | 893.3672
0 | 1002.3745
0 | 1124.6826
0 | 1261.9147
0 | 1415.8916
0 | 1588.6565
0 | 1782.5019
0 | 2000
Result Between User Sizes | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0.044461
0 | 0.099213
0 | 0.13253
0 | 0.16547
0 | 0.19809
0 | 0.23086
0 | 0.26106
0 | 0.28942
0 | 0.31582
0 | 0.33977
0 | 0.36178
0 | 0.38083
0 | 0.3973
0 | 0.41027
0 | 0.4197
0 | 0.42528
0 | 0.42705
0 | 0.42526
0 | 0.42052
0 | 0.41333
0 | 0.4048
0 | 0.39558
0 | 0.38666
0 | 0.37857
0 | 0.37159
0 | 0.36558
0 | 0.35955
0 | 0.35255
0 | 0.3432
0 | 0.33118
0 | 0.31703
0 | 0.30285
0 | 0.2921
0 | 0.28926
0 | 0.29919
0 | 0.3268
0 | 0.37442
0 | 0.44466
0 | 0.53561
0 | 0.64399
0 | 0.76574
0 | 0.89249
0 | 1.0236
0 | 1.1531
0 | 1.2898
0 | 1.4406
0 | 1.6258
0 | 1.8683
0 | 2.188
0 | 2.6127
0 | 3.1381
0 | 3.7752
0 | 4.4749
0 | 5.2059
0 | 5.8874
0 | 6.4412
0 | 6.7908
0 | 6.8674
0 | 6.6328
0 | 6.0976
0 | 5.2997
0 | 4.3202
0 | 3.222
0 | 2.2808
0 | 0.94855
0 | 0.081517
0 | 0.002399
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
Result Above 10.000 µm | 90.834

## Calculations
Size | % In | Size (µm) | % in Interval
0.02 | 0 | 0.02 | 0
0.02244 | 0 | 0.02 | 0
0.025179 | 0 | 0.02244 | 0
0.028251 | 0 | 0.02244 | 0
0.031698 | 0 | 0.02244 | 0
0.035566 | 0 | 0.025179 | 0
0.039905 | 0 | 0.025179 | 0
0.044774 | 0 | 0.025179 | 0
0.050238 | 0 | 0.028251 | 0
0.056368 | 0 | 0.028251 | 0
0.063246 | 0 | 0.028251 | 0
0.070963 | 0 | 0.031698 | 0
0.079621 | 0 | 0.031698 | 0
0.089337 | 0 | 0.031698 | 0
0.10024 | 0 | 0.035566 | 0
0.11247 | 0 | 0.035566 | 0
0.12619 | 0 | 0.035566 | 0
0.14159 | 0 | 0.039905 | 0
0.15887 | 0 | 0.039905 | 0
0.17825 | 0 | 0.039905 | 0
0.2 | 0 | 0.044774 | 0
0.2244 | 0 | 0.044774 | 0
0.25178 | 0 | 0.044774 | 0
0.28251 | 0 | 0.050238 | 0
0.31698 | 0 | 0.050238 | 0
0.35566 | 0 | 0.050238 | 0
0.39905 | 0.044461 | 0.056368 | 0
0.44774 | 0.099213 | 0.056368 | 0
0.50238 | 0.13253 | 0.056368 | 0
0.56368 | 0.16547 | 0.063246 | 0
0.63246 | 0.19809 | 0.063246 | 0
0.70963 | 0.23086 | 0.063246 | 0
0.79621 | 0.26106 | 0.070963 | 0
0.89337 | 0.28942 | 0.070963 | 0
1.0024 | 0.31582 | 0.070963 | 0
1.1247 | 0.33977 | 0.079621 | 0
1.2619 | 0.36178 | 0.079621 | 0
1.4159 | 0.38083 | 0.079621 | 0
1.5887 | 0.3973 | 0.089337 | 0
1.7825 | 0.41027 | 0.089337 | 0
2 | 0.4197 | 0.089337 | 0
2.244 | 0.42528 | 0.10024 | 0
2.5179 | 0.42705 | 0.10024 | 0
2.8251 | 0.42526 | 0.10024 | 0
3.1698 | 0.42052 | 0.11247 | 0
3.5566 | 0.41333 | 0.11247 | 0
3.9905 | 0.4048 | 0.11247 | 0
4.4774 | 0.39558 | 0.12619 | 0
5.0238 | 0.38666 | 0.12619 | 0
5.6368 | 0.37857 | 0.12619 | 0
6.3246 | 0.37159 | 0.14159 | 0
7.0963 | 0.36558 | 0.14159 | 0
7.9621 | 0.35955 | 0.14159 | 0
8.9337 | 0.35255 | 0.15887 | 0
10.0237 | 0.3432 | 0.15887 | 0
11.2468 | 0.33118 | 0.15887 | 0
12.6191 | 0.31703 | 0.17825 | 0
14.1589 | 0.30285 | 0.17825 | 0
15.8866 | 0.2921 | 0.17825 | 0
17.825 | 0.28926 | 0.2 | 0
20 | 0.29919 | 0.2 | 0
22.4404 | 0.3268 | 0.2 | 0
25.1785 | 0.37442 | 0.2244 | 0
28.2508 | 0.44466 | 0.2244 | 0
31.6979 | 0.53561 | 0.2244 | 0
35.5656 | 0.64399 | 0.25178 | 0
39.9052 | 0.76574 | 0.25178 | 0
44.7744 | 0.89249 | 0.25178 | 0
50.2377 | 1.0236 | 0.28251 | 0
56.3677 | 1.1531 | 0.28251 | 0
63.2456 | 1.2898 | 0.28251 | 0
70.9627 | 1.4406 | 0.31698 | 0
79.6214 | 1.6258 | 0.31698 | 0
89.3367 | 1.8683 | 0.31698 | 0
100.2374 | 2.188 | 0.35566 | 0
112.4683 | 2.6127 | 0.35566 | 0
126.1915 | 3.1381 | 0.35566 | 0
141.5892 | 3.7752 | 0.39905 | 0
158.8656 | 4.4749 | 0.39905 | 0
178.2502 | 5.2059 | 0.39905 | 0.044461
200 | 5.8874 | 0.44774 | 0.044461
224.4037 | 6.4412 | 0.44774 | 0
251.7851 | 6.7908 | 0.44774 | 0.099213
282.5075 | 6.8674 | 0.50238 | 0.099213
316.9786 | 6.6328 | 0.50238 | 0
355.6559 | 6.0976 | 0.50238 | 0.13253
399.0525 | 5.2997 | 0.56368 | 0.13253
447.7442 | 4.3202 | 0.56368 | 0
502.3773 | 3.222 | 0.56368 | 0.16547
563.6766 | 2.2808 | 0.63246 | 0.16547
632.4555 | 0.94855 | 0.63246 | 0
709.6268 | 0.081517 | 0.63246 | 0.19809
796.2143 | 0.002399 | 0.70963 | 0.19809
893.3672 | 0 | 0.70963 | 0
1002.3745 | 0 | 0.70963 | 0.23086
1124.6826 | 0 | 0.79621 | 0.23086
1261.9147 | 0 | 0.79621 | 0
1415.8916 | 0 | 0.79621 | 0.26106
1588.6565 | 0 | 0.89337 | 0.26106
1782.5019 | 0 | 0.89337 | 0
2000 | 90.834 | 0.89337 | 0.28942
|  | 1.0024 | 0.28942
|  | 1.0024 | 0
|  | 1.0024 | 0.31582
|  | 1.1247 | 0.31582
|  | 1.1247 | 0
|  | 1.1247 | 0.33977
|  | 1.2619 | 0.33977
|  | 1.2619 | 0
|  | 1.2619 | 0.36178
|  | 1.4159 | 0.36178
|  | 1.4159 | 0
|  | 1.4159 | 0.38083
|  | 1.5887 | 0.38083
|  | 1.5887 | 0
|  | 1.5887 | 0.3973
|  | 1.7825 | 0.3973
|  | 1.7825 | 0
|  | 1.7825 | 0.41027
|  | 2 | 0.41027
|  | 2 | 0
|  | 2 | 0.4197
|  | 2.244 | 0.4197
|  | 2.244 | 0
|  | 2.244 | 0.42528
|  | 2.5179 | 0.42528
|  | 2.5179 | 0
|  | 2.5179 | 0.42705
|  | 2.8251 | 0.42705
|  | 2.8251 | 0
|  | 2.8251 | 0.42526
|  | 3.1698 | 0.42526
|  | 3.1698 | 0
|  | 3.1698 | 0.42052
|  | 3.5566 | 0.42052
|  | 3.5566 | 0
|  | 3.5566 | 0.41333
|  | 3.9905 | 0.41333
|  | 3.9905 | 0
|  | 3.9905 | 0.4048
|  | 4.4774 | 0.4048
|  | 4.4774 | 0
|  | 4.4774 | 0.39558
|  | 5.0238 | 0.39558
|  | 5.0238 | 0
|  | 5.0238 | 0.38666
|  | 5.6368 | 0.38666
|  | 5.6368 | 0
|  | 5.6368 | 0.37857
|  | 6.3246 | 0.37857
|  | 6.3246 | 0
|  | 6.3246 | 0.37159
|  | 7.0963 | 0.37159
|  | 7.0963 | 0
|  | 7.0963 | 0.36558
|  | 7.9621 | 0.36558
|  | 7.9621 | 0
|  | 7.9621 | 0.35955
|  | 8.9337 | 0.35955
|  | 8.9337 | 0
|  | 8.9337 | 0.35255
|  | 10.0237 | 0.35255
|  | 10.0237 | 0
|  | 10.0237 | 0.3432
|  | 11.2468 | 0.3432
|  | 11.2468 | 0
|  | 11.2468 | 0.33118
|  | 12.6191 | 0.33118
|  | 12.6191 | 0
|  | 12.6191 | 0.31703
|  | 14.1589 | 0.31703
|  | 14.1589 | 0
|  | 14.1589 | 0.30285
|  | 15.8866 | 0.30285
|  | 15.8866 | 0
|  | 15.8866 | 0.2921
|  | 17.825 | 0.2921
|  | 17.825 | 0
|  | 17.825 | 0.28926
|  | 20 | 0.28926
|  | 20 | 0
|  | 20 | 0.29919
|  | 22.4404 | 0.29919
|  | 22.4404 | 0
|  | 22.4404 | 0.3268
|  | 25.1785 | 0.3268
|  | 25.1785 | 0
|  | 25.1785 | 0.37442
|  | 28.2508 | 0.37442
|  | 28.2508 | 0
|  | 28.2508 | 0.44466
|  | 31.6979 | 0.44466
|  | 31.6979 | 0
|  | 31.6979 | 0.53561
|  | 35.5656 | 0.53561
|  | 35.5656 | 0
|  | 35.5656 | 0.64399
|  | 39.9052 | 0.64399
|  | 39.9052 | 0
|  | 39.9052 | 0.76574
|  | 44.7744 | 0.76574
|  | 44.7744 | 0
|  | 44.7744 | 0.89249
|  | 50.2377 | 0.89249
|  | 50.2377 | 0
|  | 50.2377 | 1.0236
|  | 56.3677 | 1.0236
|  | 56.3677 | 0
|  | 56.3677 | 1.1531
|  | 63.2456 | 1.1531
|  | 63.2456 | 0
|  | 63.2456 | 1.2898
|  | 70.9627 | 1.2898
|  | 70.9627 | 0
|  | 70.9627 | 1.4406
|  | 79.6214 | 1.4406
|  | 79.6214 | 0
|  | 79.6214 | 1.6258
|  | 89.3367 | 1.6258
|  | 89.3367 | 0
|  | 89.3367 | 1.8683
|  | 100.2374 | 1.8683
|  | 100.2374 | 0
|  | 100.2374 | 2.188
|  | 112.4683 | 2.188
|  | 112.4683 | 0
|  | 112.4683 | 2.6127
|  | 126.1915 | 2.6127
|  | 126.1915 | 0
|  | 126.1915 | 3.1381
|  | 141.5892 | 3.1381
|  | 141.5892 | 0
|  | 141.5892 | 3.7752
|  | 158.8656 | 3.7752
|  | 158.8656 | 0
|  | 158.8656 | 4.4749
|  | 178.2502 | 4.4749
|  | 178.2502 | 0
|  | 178.2502 | 5.2059
|  | 200 | 5.2059
|  | 200 | 0
|  | 200 | 5.8874
|  | 224.4037 | 5.8874
|  | 224.4037 | 0
|  | 224.4037 | 6.4412
|  | 251.7851 | 6.4412
|  | 251.7851 | 0
|  | 251.7851 | 6.7908
|  | 282.5075 | 6.7908
|  | 282.5075 | 0
|  | 282.5075 | 6.8674
|  | 316.9786 | 6.8674
|  | 316.9786 | 0
|  | 316.9786 | 6.6328
|  | 355.6559 | 6.6328
|  | 355.6559 | 0
|  | 355.6559 | 6.0976
|  | 399.0525 | 6.0976
|  | 399.0525 | 0
|  | 399.0525 | 5.2997
|  | 447.7442 | 5.2997
|  | 447.7442 | 0
|  | 447.7442 | 4.3202
|  | 502.3773 | 4.3202
|  | 502.3773 | 0
|  | 502.3773 | 3.222
|  | 563.6766 | 3.222
|  | 563.6766 | 0
|  | 563.6766 | 2.2808
|  | 632.4555 | 2.2808
|  | 632.4555 | 0
|  | 632.4555 | 0.94855
|  | 709.6268 | 0.94855
|  | 709.6268 | 0
|  | 709.6268 | 0.081517
|  | 796.2143 | 0.081517
|  | 796.2143 | 0
|  | 796.2143 | 0.002399
|  | 893.3672 | 0.002399
|  | 893.3672 | 0
|  | 893.3672 | 0
|  | 1002.3745 | 0
|  | 1002.3745 | 0
|  | 1002.3745 | 0
|  | 1124.6826 | 0
|  | 1124.6826 | 0
|  | 1124.6826 | 0
|  | 1261.9147 | 0
|  | 1261.9147 | 0
|  | 1261.9147 | 0
|  | 1415.8916 | 0
|  | 1415.8916 | 0
|  | 1415.8916 | 0
|  | 1588.6565 | 0
|  | 1588.6565 | 0
|  | 1588.6565 | 0
|  | 1782.5019 | 0
|  | 1782.5019 | 0
|  | 1782.5019 | 0
|  | 2000 | 0
|  | 2000 | 0